Medical Biophysics

Semifinal exam theoretical questions 2014-2015 I. semester.

- General characterization of radiations, classification of them. Physical quantities to describe radiations, simple laws concerning radiations.

- Proofs for dual nature of light. Electromagnetic spectrum.

- Photoelectric effect and the significance of its application.

- Harmonic oscillation and waves. Interference. Electromagnetic waves, diffraction, polarization.

- Bases of geometric optics. Light reflection and refraction. Refractometry, endoscopy. Image formation, depth of field.

- Principles of wave optics. Microscopy, resolution. Concept of diffraction limit.

- Image formation on curved surfaces. Optics of the eye, resolution of it.

- Proofs of particle-wave duality in case of electron. Matter waves in free and bound state.

- General description of atomic and molecular interactions.

- Principles of atomic force microscopy (AFM), working modes, applications.

- Ways for description of multiatomic systems. Ideal gas. Interaction between particles.

- Boltzmann-distribution and its significance.

- Liquid crystalline systems. Practical application of them.

- Energy level system of solids. Conductors, semiconductors, insulators.

- Light emission. Types and measuring possibilities of emission spectra. The most frequent ways of light emission. Light sources.

- Black body radiation and laws for description of it. Ways of application.

- Law of radiation attenuation and its validity.

- Interaction of light with matter.  Light scattering and absorption (phenomena and explanations).

- Light absorption in solutions. The phenomenon and its physical description. Absorption spectrum and its measurement. Practical applications.

- Types of luminescence, characteristics of them. Rules concerning the transitions. Luminescence excitation and emission spectrum. Luminescence lifetime. Diagnostic applications.

- Concept of light amplification. Conditions for laser oscillator.

- Properties of laser light. Applications of lasers.

- Atomic nucleus. Nuclear forces. Isotopes.

- Unstable nucleus. Alpha-, and beta-decay. Gamma-radiation.

- Radioactive decay law (different forms).

- Interactions of nuclear radiations with matter.

- Mechanism of effect of ionizing radiations. Radiotherapy, radiation protection.

- Dosimetry. Dose concepts.

- Nuclear measurement technique. Measuring devices.

- Isotope diagnostics. Selection principles of radioisotopes.

- Isotope diagnostic methods. Gamma camera. Static and dynamic examinations. Scintigraphy, SPECT, PET.

- Types and properties of biological signals. Fourier's principle.

- Amplification and filtering of biological signals. Processing of pulse signals.