Practice questions on the semifinal exam 2016/17  I. semester (EM)

- Microscopy I.
Theoretical background:
- types of optical lenses, parameters of them
- image formation of convex lenses
- lens laws
- image formation and magnification of microscope
- resolving power of microscope (Abbe’s principle)
Quantities to be determined based on the given data:
calibration value of eyepiece scale and size of the object.

- Refractometry
Theoretical background:
- law of light refraction, definition of index of refraction
- critical angle, total reflection
- formation of Snell circle
- factors influencing the value of index of refraction
- parts and function of Abbe-refractometer
Quantities to be determined based on the given data after proper graphical representation:
the unknown concentrations.

- Light absorption
Theoretical background:
- derivation of Lambert-Beer law from the absorption law
- absorbance, transmittance and the relation of them
- absorption spectrum and the information available from it
- parts of absorption spectrometer
- application of absorbance measurement in laboratory diagnostics
Quantities to be determined based on the given data after proper graphical representation:
photon energy belonging to electron transition (in eV units)

- Polarimetry
Theoretical background:
- linearly polarized,  circularly polarized light and the connection between them
- definition and interpretation of optical activity
- Biot-law, specific rotation
- parts and function of polarimeter
Quantities to be determined based on the given data:
the type of given sugar and the unknown concentration.

- Optics of the eye
Theoretical background:
- refractive media and image formation of the eye
- accommodation
- refractive disorders of eye and the way for correction of them
- limiting angle of vision, visual acuity (visus), factors influencing the visual acuity
- distribution of photoreceptors on the retina
Quantities to be determined based on the given data:
accommodation power and visual acuity.

- Nuclear medicine
Theoretical background:
- parts of scintillation counter
- possible processes happening in the scintillation crystal
- processes happening in the photomultiplier
- signal selection, function of the discriminator, sources of noise pulses 
- optimal setting of scintillation counter
Quantities to be determined based on the given data after proper graphical representation:
the optimal discrimination level.

- Gamma-absorption
Theoretical background:
- attenuation law of radiation, attenuation coefficient, mass attenuation coefficient
- processes of attenuation on the atomic scale (photoeffect, Compton-scattering, pair production, elastic scattering)
- the dependence of mass attenuation coefficients due to different processes on the photon energy
- viewpoints of radiation protection
Quantities to be determined based on the given data after proper graphical representation:
D, , m, for all the absorbents and , mPb, mPb.

- Resonance
Theoretical background:
- elastic deformation, Hooke’s law
- harmonic oscillation
- undamped and damped free oscillation
- driven oscillation, resonance
- effect of external force (depending on the distance) on the driven oscillation (working principle of AFM)
Quantities to be determined based on the given data after proper graphical representation:
the spring constant.

- Skin impedance
Theoretical background:
- definition and components of impedance
- electric model of the skin and the possible simplifications on the model
- frequency dependence of capacitive reactance, approximation of skin impedance in case of low and high frequencies
- practical applications of impedance measurement
Quantities to be determined based on the given data:
specific resistance and specific capacity of the skin.