Semifinal exam questions (ED-2019)
1. Radiation


a) Properties and types of radiation


b) Physical parameters of radiation

2. Law of attenuation of radiation


a) Experimental interpretation of the law


b) Forms and validity of the law


c) Application of the law in medical and laboratory practice

3. Basic principles of optics (1)

a) refraction of light;  Fermat's principle;  Snellius-Descartes law

b) applications: prism, optical fiber
4. Basic principles of optics (2)

a) Reflection, spectral reflectance

b) Scattering : Rayleigh-, Mie-, Raman-scattering
5. Optics of the human eye


a) Image formation and power of the eye 


b) Visual acuity, resolution of the eye; accommodation power, eyeglasses

6. Image formation by optical devices and their medical application


a) Optical lenses, lens systems, microscope

b) Resolution; Abbe’s principle

7. Light as electromagnetic wave


a) Parameters of electromagnetic waves


b) Family of electromagnetic radiation; electromagnetic spectrum
8. Wave nature of light


a) Superposition, interference


b) diffraction, optical grating, dispersion of whit light
9. Corpuscular nature of light


a) photoelectric effect (experiment and its interpretation); the photon concept


b) particles and wave nature of particles

10. Concept of electron microscopy


a) resolution of electron microscope


b) TEM, SEM

11. Absorption of light


a) Mechanism of light absorption; the absorption spectrum


b) Lambert-Beer's law and its medical application


c) Measuring techniques: light sources, monochromators, detectors

12. Blackbody radiation

a) absorption coefficient; radiant emittance; Kirchhoff's law

b) origin of blackbody radiation


c) Spectrum of blackbody radiation; Wiens's displacement law

13. Basic principles of telethermography


a) Stefan-Boltzmann law


b) Thermal radiation of human body


c) Other application fields of thermal radiation

14. Luminescence


a) Mechanisms of luminescence; Kasha's rule


b) Emission spectrum, Stokes rule


c) Life time of fluorescence and phosphorescence
15. Application fields of luminescence


a) Light sources based on luminescence


b) Medical and laboratory use of luminescence

16. Concept of light amplification


a) Optical pumping and population inversion


b) Induced emission

17. Production of LASER light


a) Preconditions for LASER operation


b) Emission and properties of LASER light

18. Medical application of LASERs


a) Characteristics of LASER light


b) Biological effects and medical application of LASER light

19. Generation of X-ray  I.


a) Structure and operation of X-ray tube


b) Generation and spectrum of Bremsstrahlung

20. Generation of X-ray  II.


a) Power and efficiency of the X-ray tube 


b) Generation and spectrum of characteristic radiation

21. Absorption of X-ray


a) Attenuation and mass attenuation coefficient


b) Mechanisms of the absorption 

22. Medical application of X-ray absorption


a) Factors influencing X-ray absorption


b) Basic principles of X-ray diagnostics and radiation protection


c) Application of contrast materials

23. X-ray diagnostics I


a) Summation image; fluoroscopy


b) X-ray image amplifier; DSA

24. X-ray diagnostics II


a) Concept of CT; Hounsfield units, spiral CT, spatial and temporal resolution


b) Generations of CT

25. Nuclear radiation


a) Composition and stability of the nucleus


b) Nuclear forces; mass defect

26. Radioactive decay law


a) Activity; definition and factors influencing its value


b) Change of activity in time; decay constant, half life 

27.- and -radiation


a) -particle; spectrum of -radiation; interaction with matter 


b) Types, characteristics and spectrum of beta-radiation; interaction with matter; annihilation

28. Gamma-radiation and its interaction with matter


a) Nature, characteristics and spectrum of gamma-radiation; izomeric transition 


b) Interaction of Gamma-radiation with matter

29. Basic principles of diagnostic application of radioisotopes


a) Basic principles and information provided by isotope diagnostics


b) Selection rules for in vivo application of radioisotopes

30. Methods in isotope diagnostics I.


a) Isotope accumulation curve; effective and biological half life


b) Gamma camera (structure and operation); static and dynamic pictures

31. Accelerators and therapeutic devices


a) Linear accelerator and cyclotron


b) Collimators


c) Gamma knifes, brachytherapy

32. Isotope diagnostics II


a) SPECT

b) PET
33. Biostatistics I


a) Variable and probability distribution


b) Normal distribution and its parameters

34. Biostatistics II


a) Sample and statistical characteristics


b) Estimation of the expected value

35. Biostatistics III


a) linear regression


b) correlation

36. Hypothesis testing (1)


a) t-distribution; null-hypothesis;

b) correlation t-test
37. Hypothesis testing (2)


a) t-test for one sample. T-test for two samples

b) 2 -test
