## Sheet1
Pulse generators
Type only in the green cells!
Student's name |  |  |  |  | Faculty: | Group:
Date:
Aims: familiarizing with the principles and medical application of pulse generators.
Tasks:
1.) | Create a connection of the components of the model box in order to reproduce the pacemaker pulses as accurate as possible. Measure the pulse chacteristics with the digital oscilloscope.
2.) | Interpretation of the given pacemaker's code and measuring its pulse characteristics with a digital oscilloscope.
3.) | Calculate the pulse energy and the number of charge flowed through during one pulse in case of a given tissue resistance.
1.) Create a train of pulses resembling a pacemaker with the model box and measure its characteristics!
Type of pulse genertaor connection
τactive (ms) | τpassive (ms) | periode (ms) | frequency (1/min) | duty ratio | pulse amplitude (V)
2.) Resolve the pacemaker code and measure its pulse characteristics!
Pacemaker's code |  |  |  | Chamber paced
Chamber sensed
Response to sensing
Rate modulation
Multisite pacing
τactive (ms) | τpassive (ms) | periode (ms) | frequency (1/min) | duty ratio | pulse amplitude (V)
3.) Calculate the pulse energy and the number of charge flowed through during one pulse.
Tissue resistance (Ohm) |  | 2000
Pulse energy | unit |  | Charge flowed through during one pulse |  | unit
Conclusions
Which pulse generator connection is used in pacemakers?
How much was the duty cyle of the pacemeker pulses?
How much charge flowes through during one pacemaker pulse?