## Sheet1
Microscopy I.
type only in the green cells!
Student's name: |  |  |  |  | Faculty: |  |  | Group:
Date:
Aims: To impart knowledge about the geometrical optics of a simple microscope; to measure the size of objects examined with a microscope and statistical analysis of the acquired data.
Tasks:
1.) | Calibrate the eyepiece scale of the microscope using a known scale in the case of the highest magnification. Determine the unit of the eyepiece scale in SI unit.
2.) | Measure the length of ribbed newt red blood cells using the eyepiece scale and calculate the length in SI unit based on the calibration.
3.) | To characterize the dataset of 50 elements by descriptive statistics.
1.) Calibrate the eyepiece scale of the microscope using the highest magnification!
Magnification used for calibration:
Objective's magnification | Eyepiece's magnification | Microscope's magnification
After the superimposition of the scales:
| eyepiece units cover |  |  | objective units
because 1 objective unit equals to 10 mm, thus
0 | eyepiece units equal to |  | 0 | mm, so | 1 eyepiece scale unit= |  |  | mm
2.) Measure the longer diameter of 50 newt red blood cells!
Number of red blood cell | Longer diameter of red blood cell |  |  | Number of red blood cell | Longer diameter of red blood cell
| eyep. unit | mm |  |  | eyep. unit | mm
1 |  |  |  | 26
2 |  |  |  | 27
3 |  |  |  | 28
4 |  |  |  | 29
5 |  |  |  | 30
6 |  |  |  | 31
7 |  |  |  | 32
8 |  |  |  | 33
9 |  |  |  | 34
10 |  |  |  | 35
11 |  |  |  | 36
12 |  |  |  | 37
13 |  |  |  | 38
14 |  |  |  | 39
15 |  |  |  | 40
16 |  |  |  | 41
17 |  |  |  | 42
18 |  |  |  | 43
19 |  |  |  | 44
20 |  |  |  | 45
21 |  |  |  | 46
22 |  |  |  | 47
23 |  |  |  | 48
24 |  |  |  | 49
25 |  |  |  | 50
3.) Make a statistical description of the sample!
In your work use excel formulae!
Number of elements in the sample
[5 empty] | classes (mm) | class boundaries (mm) |  | frequency
[6 empty] | lower | upper
Average of the sample (mm) |  |  |  |  | 17.5–20 | 17.5 | 20 | 0
[5 empty] | 20–22.5 | 20 | 22.5 | 0
[5 empty] | 22.5–25 | 22.5 | 25 | 0
Standard deviation of the sample (mm) |  |  |  |  | 25–27.5 | 25 | 27.5 | 0
[5 empty] | 27.5–30 | 27.5 | 30 | 0
[5 empty] | 30–32.5 | 30 | 32.5 | 0
Reference interval (average ± 2*stand.dev.) |  |  |  |  | 32.5–35 | 32.5 | 35 | 0
| ± |  | mm |  | 35–37.5 | 35 | 37.5 | 0
[5 empty] | 37.5–40 | 37.5 | 40 | 0
Conclusions
Result of the eyepiece scale calibration is: |  |  |  | magnification: |  |  |  | unit
1 eyepiece scale unit=
The average size of the longer diameter of the newt red blood cells is: |  |  |  |  | average |  | unit
The standard deviation of the sample is: |  |  |  |  | standard deviation |  | unit
What kind of distribution is expected of the size of newt red blood cells based on your dataset?
The reference range is: (lower and upper limits) |  |  |  |  | reference range |  |  | unit
–

## Sheet2 (hidden)
Vérplazma kalibrációs görbe adatok
51.25 | 1.345
53.5 | 1.3453
55.25 | 1.3458
57.25 | 1.3461
59 | 1.3465
61.25 | 1.3468
62.8 | 1.3473
64.6 | 1.3477
66.75 | 1.3479
68.5 | 1.3483
70.5 | 1.3487
slp | 0.00019704
int | 1.3348
r2 | 0.9976
0