## Sheet1
Nuclear medicine
type only in the green cells!
Student's name: |  |  |  |  | Faculty: |  | Group:
Date:
Aims: To impart knowledge about the parts and operation of the scintillation counter; to clarify the terms: signal and noise, to determine the optimum setting of the instrument.
Tascs:
1.) | Check the preset parameters of the scintillation counter, adjust if necessary. Measure the pulse number as a function of integral discriminator level with and without the sample isotope.
2.) | Calculate and plot the signal-to-noise ratio vs. the integral discriminator voltage.
3.) | Determine the optimal discrimination level.
1.) Write the measured pulse numbers in the table
discriminator level BASELINE | discriminator voltage Ud (V) | signal with noise Ns+n (pulses / 5s) |  |  |  | noise Nn (pulses / 5s)
|  | 1. measure | 2. measure | 3. measure | mean | 1. measure | 2. measure | 3. measure | mean
100 | 0.5
200 | 1
300 | 1.5
400 | 2
500 | 2.5
600 | 3
700 | 3.5
800 | 4
900 | 4.5
Calculate the signal-to-noise ratio!
discriminator level BASELINE | discriminator voltage Ud (V) | signal Ns+n - Nn (pulses/5s) | signal/noise Ns / Nn
100 | 0.5
200 | 1
300 | 1.5
400 | 2
500 | 2.5
600 | 3
700 | 3.5
800 | 4
900 | 4.5
2.) Plot the signal-to-noise ratio as a function of discriminator voltage!
From the plot find the optimal ID level.
Number of instrument | optimal ID level | unit
Conclusions
Optimal integral discriminator setting of the scintillation counter |  |  |  | ID level | unit | instrument No.
How did you decide which one is the optimum ID level?