## Munka1
Dosimetry
Only write in the green cells!
Student's name: |  |  |  |  | Faculty: |  | Group:
Date:
Aims: familiarizing with the radiation protection aspects of ionizing radiations applied in medical practice, with the basic dose concepts, as well as with the working principle of some dosimeter appliances; application of a gaseous ionization chamber as dose rate meter.
Tasks:
1.) | Measure the signal of the ionization chamber (i.e. current) as a function of the voltage applied to the chamber and plot the current as a function of voltage.
2.) | Measure the saturation current of the ionization chamber in case of irradiating it with X-rays of different power. Plot the results on a graph and determine the function that fits best.
3.) | Based on your measurements calculate exposure rate, absorbed dose rate in air and equivalent dose rate!
1.) Write the applied voltage and measured current values of the ionization chamber in case of irradiating it with X-ray radiations of two different power.
parameters of X-ray tube:
| Accelerating voltage (V) |  | Anode's material
| suggested chamber voltages for measure-ment (V) | X-ray tube anode current Ianode = 1 mA |  | X-ray tube anode current Ianode = 0,5 mA
|  | chamber voltage Uchamber (V) | chamber current Ichamber (nA) | chamber voltage Uchamber (V) | chamber current Ichamber (nA)
0
10
20
30
40
60
80
100
120
150
200
250
Plot the voltage-current relations of the ionization chamber for both irradiations!
2.) Write the saturation current values measured in the chamber for each cases of irradiation with different the X-ray powers!
voltage connected to chamber Uchamber (V):
X-ray tube anode current Ianode (mA) | saturation current Ichamber (nA) |  | Plot the saturation current as a function of the X-ray tube's anode current! Find the function that fits best on the graph!
0
0.2
0.4
0.6
0.8
1
fitted function | R2
3.) Choose one X-ray anode current (0 < Ianode ≤ 1 mA) and calculate exposure rate, absorbed dose rate in air and equivalent dose rate!
selected anode current of the X-ray tube, Ianode (mA) :
ionization chamber saturation current, Ichamber (nA): |  |  |  |  | in A:
chamber's effective volume, Vchamber (cm3): |  |  |  | 125 | in m3:
density of air at 25 °C, rair (kg/m3): |  |  |  | 1.18
mass of the gas (air) in the chamber, mair (kg):
exposure rate, Xt (C/kg*s): |  |  |  |  | f0 (J/C): | 34
absorbed dose rate in air, Dt (Gy/s): |  |  |  |  | in mGy/s:
equivalent dose rate, Ht (Sv/s): |  |  |  |  | in mSv/s:
Conclusions
What is the name of the section of the voltage-current graph before the saturation?
What is the name of the section of the voltage-current graph after the saturation?
How does the saturation current depend on the X-ray dose?