## Sheet1
Skin impedance
type only in the green cells!
Student's name: |  |  |  |  | Faculty: |  | Group:
Date:
Aims: To reveal the importance of impedance in relation with the hazards of electric current and contact protection; to familiarize with medical diagnostic methods based on impedance measurement.
Tasks:
1.) | Measure voltage and current at various AC frequencies (also DC), in a circuit that is wired through your skin.
2.) | Calculate and plot the impedance as a function of frequency.
3.) | Determine the specific resistance and specific capacitance of skin.
1.) Write the measured voltage and current values in the table!
| frequency f (Hz) | voltage Ugen , Ugen eff (V) | current Iskin, Iskin eff (mA) | current Iskin, Iskin eff (A) | resistance, impedance R, Z (Ω)
DC (=) | 0 |  |  |  |  | R (Ω)
AC (~) | 16 |  |  |  |  | Z (Ω)
32
64
125
250
500
1000
2000
4000
8000
2.) Plot the impedance as a function of AC frequency!
Create a log-log plot
3.) Calculate specific skin resistance and specific skin capacitance!
Specific skin resistance (ρ*) |  |  |  |  | Specific skin capacitance (γ*)
skin resistance (Ω) |  |  | 0 |  | skin impedance at 8 kHz (Ω) |  |  | 0
surface of measuring electrode (m2) |  |  |  |  | skin capacitance (F)
specific skin resistance (Ω⋅m2) |  |  |  |  | surface of measuring electrode (m2)
specific skin capacitance (F/m2)
Conclusions
What is the electric model of the skin?
What kind of resistances does skin impedance contain?
Specific resistance of my skin is: |  |  |  |  | ρ* |  | unit
Specific capacitance of my skin is: |  |  |  |  | γ* |  | unit