## Sheet1
CAT scan
Csak a zöld színű mezőkbe írjon!
| Student's name: | [7 empty] | Faculty: |  |  |  | Group:
Date:
The aim of the lab: familiarizing with the physical background of X-ray imaging and with the principles of computer assisted X-ray tomography.
Tasks:
| 1.) |  | Do (or check) the optimal setting of the scintillation counter then measure the background pulse count.
| 2.) |  | Measure the pulse count along the rows and columns of the cube model.
| 3.) |  | After subtracting the background, calculate the X-ray densities for each row and column.
| 4.) |  | Using the relative values of X-ray densities, prepare the densitogram and find the position of the iron rods.
1.) Type the parameters of the scintillation counter and the measured pulse count values into the table. Calculate the density for each row and column!
| Discriminator mode |  |  |  | Discrimination level (baseline)
|  |  |  | backgr. | J0 | JA | JB | JC | JD | JE | J1 | J2 | J3 | J4 | J5
1. measurement
2. measurement
3. measurement
avergae
avg. - (avg. bkgr.)
density (D)
2.) Based on the X-ray densities determine the number of iron rods in each column and row. Finally mark the rod positions with X in the figure.
|  |  | ← No. of iron rods | density of columns
|  |  |  | A | B | C | D | E
|  |  |  | 0 | 0 | 0 | 0 | 0
← No. of iron rods
density of rows | 1 | 0
| 2 | 0 | [8 empty] | model number:
| 3 | 0
| 4 | 0 | [8 empty] | positions of iron rods (column/row coordinates)
| 5 | 0
Conclusions
Why is it benefitial to use density (D) in computer tomography?
What is the definition of Hounsfield unit?
How can we enhance the contrast of a CT image when examining areas of similar attenuation?